## ReadMe
The rubric is intended to be used with the template Request for Proposals (RFP) for Solar Projects that is included as part of the CREATE Solar on Schools toolkit. The scoring rubric was initially developed by the Midwest Renewable Energy Association to aid schools seeking to implement solar construction projects on their campus. It was further modified by Madison Area Technical College to include additional specifics relevant for high schools and community colleges with technical education and solar photovoltaic programs that might seek to use the solar installations for both energy generation and instructional purposes.
This rubric is being shared both as an Adobe pdf file to preserve original formatting, and as an MS Excel spreadsheet file to allow other schools to modify and customize the rubric to suit their needs.
The file contains several color coded sections:
Red Text indicates areas were specific names of a school, state, electric provider, or other entity will need to be replaced for the particular institution of interest.
Yellow highlights indicate notes that are provided to accompany the rubric, and to indicate sections that may be included or removed from the spreadsheet as relevant for a particular school or a particular solar project.

## Scoring Rubric
PV Contractor Scoring Rubric
Section 1: REQUIREMENTS
Installation firm or subcontractor has at least one employee who is a NABCEP Certified PV Installer | REQUIRED
Master electrician on staff | REQUIRED
Installation firm is an electrical contractor that has all applicable licenses (state and possibly local) | REQUIRED
Installation firm responded to each section of the Request for Proposals | REQUIRED
Proposing firms must have at least 500kW installed capacity of commercial solar experience. | REQUIRED | The size requirement may be modified for this criteria as appropriate for any given installation
Installation firm or subcontractor participates in an apprenticeship program or has an equivalent internal training program | REQUIRED | This criteria may not be relevant for all schools or projects. Use or delete this row as appropriate
Firm indicates their agreement to engaging college interns and students in the project | REQUIRED | This criteria may not be relevant for all schools or projects. Use or delete this row as appropriate
Proposal submitted on time | REQUIRED
Section 2: BONUS CATEGORIES (up to 24 points) | 1 point | 2 pts | 3pts
Firm is located in state | Out of State HQ with Wisconsin Office | Wisconsin HQ with office in School ABC district | HQ in School ABC district
Prioritize diversity and inclusiveness in business practices | Firm has provided evidence that they prioritize diversity in hiring/contracting processes and uses data to promote inclusiveness. (Up to 3 points)
Firm has a NAPCEP certified installer on staff | Firm has 1 or more NAPCEP certified employees (up to 3 points depending on evidence provided)
Are, or contract with, a worker-owned cooperative, union shop, certified B-corporation, or small-, women-, or minority-owned business enterprise(s) (SWMBEs). | The firm is, or contracts with Co-ops, Union shops, and/or SWMBEs (Up to 3 points depending on evidence provided)
Firm has completed previous solar installations on school campuses | 1 point = Has completed systems for K-12, community college, or university institutions | 2 points = Has completed systems for schools similar in size and design to the ones proposed | 3 points = Has prior experience with systems for schools that include educational components
Firm Can Offer an O&M Program | Firm offers an ongoing O&M plan (Up to 3 points depending on evidence provided)
Firm has prior experience designing and installing systems using desired advanced technology (e.g. bifacial solar panels, tracking systems, snart inverters, EV chargers, etc.) | If desired, develop rubric as appropriate for any desired advanced technology to be included in the system, or delete this row accordingly
Firm has a record of prior engagement with Technical Colleges, e.g. as an employer of alumni, or as a member of an industry advisory board | 1 point = Proposal indicates a prior relationship with a technical college | 2 points = Proposal indicates a relationship with a school located in the State, District, County, etc. | 3 points = Firm has a prior relationship with Scbool ABC | This criteria may not be relevant for all schools/projects. Use, modify, or delete as appropriate
SECTION 3: RFP CATEGORIES
II. FIRM PROFILE (Up to 10 points) | 1 Point | 2 Points | 3 Points | 4 Points | 5 Points
A. Firm’s experience developing, designing, and installing commercial PV systems | Firm has shown proof of experience in development, design, and/or installation of residential or commercial PV systems (not both). | Firm has shown proof of experience in most of the following categories: development, design, and installation of both residential AND commerical PV systems. | Firm has shown basic proof of experience in ALL the following categories: development, design, and installation of both residential AND commerical PV systems. | Firm has shown satisfactory proof of experience in ALL the following categories: development, design, and installation of both residential AND commerical PV systems. | Firm has shown detailed proof of significant experience in ALL the following categories: development, design, and installation of both residential AND commerical PV systems.
B. Capability to complete the project per the timeline | Firm has not provided sufficient evidence of their ability to complete the project per the program timeline. Firm's financial stability, number of employees, length of time in business, capacity, and resources make it highly unlikely the firm is capable of completing projects within the proposed installation timeline. | Firm has not provided sufficient evidence of their ability to complete the project per the program timeline. Issues are apparent within firm's financial stability, number of employees, length of time in business, capacity, and/or resources that make it less likely the firm is capable of completing projects within the proposed installation timeline. | Firm has provided sufficient evidence of their ability to complete the project per the program timeline, yet there is evidence there may be issues within firm's financial stability, number of employees, length of time in business, capacity, and/or resources that make it less likely the firm is capable of completing projects within the proposed installation timeline. | Firm has provided sufficient evidence of their ability to complete the project per the program timeline. Firm's financial stability, number of employees, length of time in business, capacity, and resources make it likely they will complete projects within the proposed installation timeline. | Firm has provided detailed evidence of their ability to complete the project per the program timeline. Firm's financial stability, number of employees, length of time in business, capacity, and resources all lead one to believe they are fully capable of successfully completing projects within the proposed installation timeline.
III. PROJECT TEAM (Up to 10 points) | 1 Point | 2 Points | 3 Points | 4 Points | 5 Points
A. Key Personnel: Owners, Project Managers, Designers, Installers, and Office Manager | Firm has not provided enough evidence to show that key personnel are experienced, motivated, work well together as a team, and are focused on exceeding customer expectations. Key details are missing and/or incomplete and there are serious concerns about ability of the team to successfully complete the project. | Firm has not provided enough evidence to show that key personnel are experienced, motivated, work well together as a team, and are focused on exceeding customer expectations. | Firm has provided some evidence that key personnel are experienced, motivated, work well together as a team, and are focused on exceeding customer expectations. | Firm has provided sufficient evidence that key personnel are experienced, motivated, work well together as a team, and are focused on exceeding customer expectations. | Firm has provided detailed evidence that key personnel are experienced, motivated, work well together as a team, and are focused on exceeding customer expectations.
B. Subcontractor quality, experience, credentials | Firm has not provided sufficient evidence that their proposed contractor(s) meet the same requirements outlined for proposing firms. Lack of evidence that the systems installed through the firm and contractor would install high quality systems within the project timeline. Subcontractor certificates of insurance and worker's compensation policy may be absent. | Firm has not provided sufficient evidence that their proposed contractor(s) meet the same requirements outlined for proposing firms and are capable of installing high quality systems within the project timeline. Subcontractor certificates of insurance and worker's compensation policy may be absent. | Firm has provided evidence that their proposed contractor(s) meet the same requirements outlined for proposing firms and arelikely capable of installing high quality systems within the project timeline. Subcontractor certificates of insurance and worker's compensation policy are briefly stated. | Firm has provided sufficient evidence that their proposed contractor(s) meet the same requirements outlined for proposing firms and are capable of installing high quality systems within the project timeline. Subcontractor certificates of insurance and worker's compensation policy are stated and comprehensive. | Firm does not subcontract OR has provided detailed evidence that their proposed contractor(s) meet the same requirements outlined for proposing firms and are fully capable of installing high quality systems within the project timeline. Subcontractor certificates of insurance and worker's compensation policy are clearly stated and comprehensive.
IV. BUSINESS PRACTICES (Up to 25 points) | 1 Point | 2 Points | 3 Points | 4 Points | 5 Points
A. Sample site assessment and cost estimate | Sample site assessment and cost estimate are unprofessional, incomplete, contain errors, or are misleading. | Sample site assessment and cost estimate are complete, but are unclear, unprofessional, or misleading. Estimated annual or monthly production may not be included. Cost estimate does not include pricing for hardware, installation, connection to the grid, sales tax, and/or 5-year installation warranty details. Warranty is insufficient or is not provided by the contractor that installed the system. Cost for major system components (modules, inverter) may not be new. | Sample site assessment and cost estimate are complete but may not be easily understood by a home or business owner. Estimated annual or monthly production is included and the cost estimate includes pricing for hardware, installation, connection to the grid, sales tax, and 5-year installation warranty details. Warranty is provided by the contractor that installs the system. Cost for major system components are new. | Sample site assessment is of professional quality, easy to understand from a home or business owner's perspective, and clearly states proposed capacity, system specifications, and estimated annual or monthly production as based upon a shade analysis. Cost estimate includes hardware, installation, connection to the grid, sales tax, and 5-year installation warranty details. Warrantly is provided by the contractor that installs the solar electric system. Cost for major system components are new. | Sample site assessment is professionaland comprehensive, clearly stating proposed capacity, along with system specifications and estimated annual or monthly production as based upon a comprehensive and detailed shade analysis. Cost estimate is detailed, easily understandable, and includes hardware, installation, connection to the grid, sales tax, and 5-year installation warranty that covers an defects in the worksmanship of the installation at no charge to the owner. Warranty is provided by the contractor that installs the solar electric system. Cost for major system components (modules, inverter) are new.
B. Sample customer contract | Sample customer contract is absent, incomplete, contains errors, or is misleading. The sample customer contract provided contains onerous penalties to customers or unfair billing practices including high down payments, forced arbitration clauses, and no specific installation timeline. The contract is very lopsided in favor of the installer. The contract does not include assumptions used in detailing system production and financial performance, including identifying the modeling tools used and the assumed annual electricity escalation rate. | Sample customer contract is incomplete, contains errors, is misleading, or does not clearly state maximum generating capacity (in W or kW) and estimate of energy prodcution monthly or annually. The contract provided contains onerous penalties to customers or unfair billing practices. The contract may be lopsided in favor of the installer. The contract is vague on the assumptions used in detailing system production and financial performance, including identifying the modeling tools used and the assumed annual electricity escalation rate. | Sample customer contract is complete, but provides vague details on maximum generating capacity (in W or kW) and monthly or annual production estimates. The contract may contain unfair customer penalties or billing practices. The contract generally includes the assumptions used in detailing system production and financial performance, including identifying the modeling tools used and the assumed annual electricity escalation rate. | Sample customer contract is complete yet basic, stating maximum generating capacity (in W or kW) and an estimate of the amount of energy the system will produce on an annual or monthly basis. The contract provides reasonable billing practices and fair treatment of customer and contractor. Contract includes language about production credit and ITC compensation (4%) in the event of late installation | Sample customer contract clearly states the maximum generating capacity (in W or kW) and an estimate of the amount of energy the system will produce on an annual or monthly basis. The contract provides reasonable billing practices, timeline for installation, and fair treatment of customer and contractor. Contract requires no more than 20% down payment upon signing. The contract specifically outlines the assumptions used in detailing system production and financial performance, including identifying the modeling tools used and the assumed annual electricity escalation rate.
C. Firm’s address of change orders | Firm neglected to mention change orders or change orders incur onerous penalty. | Firm described anecdotal response to request for change orders, but does not describe overall approach or recent example. | Firm described in minimal detail the process of addressing change orders, including overall approach. Firm may not have provided a recent example. | Firm described in detail the process for change orders, including overall approach, personnel, timetable, process for communicating adjustments to invoices and customer sign-off procedure. Example provided is recent, clear, and reflects practices described. | Firm described in detail the process for change orders, including overall approach, personnel, timetable, process for communicating adjustments to invoices and customer sign-off procedure. Firm's example of a change order is recent and clearly provides details on the pricing, tracking, and management.
D. Firm’s health and safety record and practices | Firm neglected to mention health and safety record, or has unreasonable or egregious health and safety record. | Firm's health and safety record are provided but not specific to best practices, a safety handbook or training, or which records are kept on file. | Firm's health and safety record are detailed, but firm does not take an active role to maintain employee training on health and safety best practices. Firm maintains a safety handbook with safety procedures all employees must read as well as records of Material Safety Data Sheets for the products used. | Firm's health and safety record reflects best practices and may include maintaining a safety handbook (or similar) with safety procedures that all employees must read and sign and records of Material Safety Data Sheets for the products used. Firm may hold regular, frequent safety meetings for the entire staff and support staff attendance at OSHA safety training classes, and solar-specific safety training classes. | Firm's health and safety record is detailed and reflects best practices, including maintaining a safety handbook (or similar) with safety procedures that all employees must read and sign and records of Material Safety Data Sheets for the products used. Firm holds regular, frequent safety meetings for the entire staff and supports staff attendance at OSHA safety training classes, and solar-specific safety training classes.
E. Firm’s familiarity with permitting fees and requirements in relevant local jurisdictions | Firm's description of permitting fees and requirements is absent, or contains incorrect information demonstrating their unfamiliarity with local permitting fees and requirements. | Firm's description of permitting fees and requirements is unclear or contains incorrect information demonstrating unfamiliarity with local permitting fees and requirements. | Firm has provided sufficient evidence that it has familiarity with permitting fees and requirements in relevant local jurisdictions, but may not have experience in various locations within program territory. | Firm has demonstrated knowledge of permitting landscape in array of locations in program territory, including demonstrating awareness of differences in permitting fees jurisdiction to jurisdiction. Firm may not have described process for managing permitting and interconnection timelines across personnel. | Firm has demonstrated specific knowledge of permitting landscape in many locations within program territory, including demonstrating awareness of differences in permitting fees jurisdiction to jurisdiction. Firm has described process for managing permitting and interconnection timelines across personnel.
V. WORK QUALITY (up to 15 points) | 1 Point | 2 Points | 3 Points | 4 Points | 5 Points
A. Firm References | Firm references were not included. | Firm provided name, email, and/or telephone number of references. | References include name, telephone number, email address, system size, street address, and date of installation. | References include name, telephone number, email address, system size, street address, date of installation, and description of system equipment. | References include name, telephone number, email address, system size, street address, date of installation, and description of system equipment. Firm provided letters of recommendation and/or testimonials from satisfied customers.
B. Firm’s installation process | Firm did not describe installation process, or process description was unclear. | Firm installation process description was unclear or unsatisfactory. | Firm described installation process in general terms. Did not include details of personnel or timelines. | Firm described installation process including either expected timelines or key personnel responsible for each step. | Firm described installation process from customer contact to interconnection and beyond, including both the key personnel responsible for each step and expected timeframe for each step.
C. Firm’s final testing and sign-off procedures | Firm did not describe final testing and sign off procedures. | Firm described final testing and sign off procedure in minimal detail. | Firm described final testing and sign off procedure in general terms. Included checklists, inspection, and other necessary requirements. | Firm description of final testing and sign off procedure was clear and included checklists, inspection, and other necessary requirements. Firm provided details on verification of the system and protocol for testing. | Firm uses a post-installation checklist (or similar) that includes testing such as: verifying the module series-string voltages and short circuit currents, spot checking connections for proper torque of the module clamps and racking equipment, confirming accurate and complete safety signage, and documenting the string wire path on the roof. With the inverter connected, firm checks for proper operating voltage, current, and power, as well as proper web communication. Before commissioning the system with the utility, firm conducts an electrical and building inspection with the AHJ. With the utility, firm verifies that system shuts off when a power outage is simulated. Firm reviews the install with the electrician to evaluate if there are any changes needed to the as-built drawing.
VI. CUSTOMER SERVICE (Up to 15 points) | 1 Point | 2 Points | 3 Points | 4 Points | 5 Points
A. Firm’s plan to handle incident reports | Firm did not describe plan to handle incident reports. | Firm's process for handling and responding to incident reports are unclear. Response timeline may be unreasonable. | Firm describes general process for handling and responding to incident reports. | Firm describes, in detail, process of handling incident reports and outlines a reasonable timeline to respond. Firm retains records of reports and all repairs, including timelines. | Firm describes, in detail, process of handling incident reports. Firm has 24 hour answering service (or similar) and is prepared to respond to incidents immediately. Firm captures repair information in database, including detailed records of the dates replacement equipment was ordered, received, and placed back into service.
B. Firm complaints | Unreasonable number of unresolved complaints or lack of response to a large number of complaints on websites like Better Business Bureau or Angie's List. | Significant number of unresolved complaints on websites like Better Business Bureau or Angie's List. Responsed are unsatisfactory or absent. Documentation of pending or active judgements or liens is not provided, if applicable. | Complaints on websites like Better Business Bureau or Angie's List have been resolved or responded to satisfactorily. Documentation of pending or active judgments or liens may not be provided, if applicable. | Complaints on websites like Better Business Bureau or Angie's List are minimal and have been resolved or responded to satisfactorily. Documentation of pending or active judgments or liens may not be provided, if applicable. | No complaints on websites like Better Business Bureau or Angie's List. Documentation of pending or active judgments or liens is provided, if applicable.
C. Firm’s training to home or businessowner | Firm did not describe training it provides to home or business owners. | Firm provides some of the following to home and business owners: completion packet, manuals, specification sheets, installer warrany, and/or manufacturer's warranties. | Firm provides all of the following to home and business owners: completion packet, manuals, specification sheets, installer warrany, and manufacturer's warranties. | Firm offers several services to home and businessowners, including a completion packet, all relevant manuals, specification sheets, installer warranty, and manufacturers' warranties. Firm provides guidance on checking production regularly and maintenance. | Firm offers a walk through and overview of the installation to customers. Firm provides a completion packet to customers, including manuals, specification sheets, installer warranty, and manufacturers’ warranties. Firm provides recommendations on checking production regularly and maintenance. Firm checks customer system performance on an ongoing basis to make sure there aren’t any energy production or equipment issues.
VII. PRODUCTS, DESIGN, PRICE AND OPTIONS PROVIDED (up to 30 points total for parts A, B, and C) | 0-2 Points | 3-4 Points | 5-6 Points | 7-8 Points | 9-10 Points
A. Products included in proposal | Products have a good industry track record, are of well respected quality, are listed on www.gosolarcalifornia.ca.gov/equipment/index, Bloomberg's Tier 1, or DNV GL PV Module Reliability Scorecard, and are suitable for the given application (up to 10 pts)
B. Project Design - Consider panel, inverter and racking options, Proposed site layout, balance of system, module level power electronics, bifacial optimization, monitoring choice, and considerations for student instruction | Offer did not describe their approach to each Project, the design advantages of their System, and all cost components related to any System. | Offer did not completely or effectively describe their approach to each Project, the design advantages of their System, and/or all cost components related to any System. | Offer provided sufficient description of the approach, compoennts, and design. The approach is acceptable, but may lack some elements or may not be ideally suited to the schools intended application. | The Offer clearly described their approach to each Project, the design advantages of their System, and described all cost componenents related to the system. The described approach is suitable and logical to the school's intended application | The Offer clearly described their approach to each Project, the design advantages of their System, & described all cost componenents related to the system. The described approach is attractive, compelling, & relevant to the school's intended application.
C. Pricing | Pricing is very high relative to other proposals or otherwise extremely unreasonable. | Pricing is high relative to other proposals or otherwise unreasonable. | Pricing is the median relative to other proposals. | Pricing is low relative to other proposals. | Pricing is the lowest relative to the other proposals.
Total Score =

## reviewer1
PV Contractor Score Sheet | Contractor 1 | Contractor 2 | Contractor 3 | Contractor 4 | Contractor 5 | Add collumnus as needed
Section 1: REQUIREMENTS
Installation firm or subcontractor has at least one employee who is a NABCEP Certified PV Installer
Master electrician on staff
Installation firm is an electrical contractor that has all applicable licenses (state and possibly local)
Installation firm responded to each section of the Request for Proposals
Proposing firms must have at least 500kW installed capacity of commercial solar experience.
Installation firm or subcontractor participates in an apprenticeship program or has an equivalent internal training program
Firm indicates their agreement to engaging college interns and students in the project according to the DOE Solar Corps Grant Terms.
Proposal submitted on time
Section 2: BONUS CATEGORIES (up to 21 points)
Firm is located in state
Prioritize diversity and inclusiveness in business practices
Firm has a NAPCEP certified installer on staff
Are, or contract with, a worker-owned cooperative, union shop, certified B-corporation, or small-, women-, minority-, or veteran- owned business enterprise(s) (SWMVBEs).
Firm has completed previous solar installations on school campuses
Firm has a record of prior engagement with Wisconsin Technical Colleges, e.g. as an employer of alumni, or as a member of an industry advisory board
Firm has prior experience designing and installing systems using bifacial solar panels
Firm Can Offer an O&M Program
SECTION 3: RFP CATEGORIES
II. FIRM PROFILE (Up to 10 points) | [5 empty] | 10
A. Firm’s experience developing, designing, and installing commercial PV systems
B. Capability to complete the project per the timeline
III. PROJECT TEAM (Up to 10 points) | [5 empty] | 10
A. Key Personnel: Owners, Project Managers, Designers, Installers, and Office Manager
B. Subcontractor quality, experience, credentials
IV. BUSINESS PRACTICES (Up to 25 points) | [5 empty] | 25
A. Sample site assessment and cost estimate
B. Sample customer contract
C. Firm’s address of change orders
D. Firm’s health and safety record and practices
E. Firm’s familiarity with permitting fees and requirements in relevant local jurisdictions
V. WORK QUALITY (up to 15 points) | [5 empty] | 15
A. Firm References
B. Firm’s installation process
C. Firm’s final testing and sign-off procedures
VI. CUSTOMER SERVICE (Up to 15 points) | [5 empty] | 15
A. Firm’s plan to handle incident reports
B. Firm complaints
C. Firm’s training to home or businessowner
VII. PRODUCTS, DESIGN, PRICE AND OPTIONS PROVIDED (up to 30 points total for parts A, B, and C) | [5 empty] | 16
A. Products included in proposal
B. Project Design - Consider panel, inverter and racking options, proposed site layout, balance of system, module level power electronics, bifacial optimization, monitoring choice, and considerations for student instruction
Site 1 Panels
Site 1 Inverter(s)
Site 1 Racking
Site 1 layout
Site 1 DC to AC ratio
Site 1 Estimated Annual kWh
Data Acquisition System (DAS)
Warranty
Other comments?
If appropriate, repeat the lines above for additional installation sites
C. Pricing
Site 1 Base Price ($)
Site 1 Base Price ($/kW installed)
Site 1 Base Price Rank (lowest = 1)
If appropriate, repeat the lines above for additional installation sites
Total Score = | 0 | 0 | 0 | 0 | 0 | 91

## reviewer2
PV Contractor Score Sheet | Contractor 1 | Contractor 2 | Contractor 3 | Contractor 4 | Contractor 5 | Add collumnus as needed
Section 1: REQUIREMENTS
Installation firm or subcontractor has at least one employee who is a NABCEP Certified PV Installer
Master electrician on staff
Installation firm is an electrical contractor that has all applicable licenses (state and possibly local)
Installation firm responded to each section of the Request for Proposals
Proposing firms must have at least 500kW installed capacity of commercial solar experience.
Installation firm or subcontractor participates in an apprenticeship program or has an equivalent internal training program
Firm indicates their agreement to engaging college interns and students in the project according to the DOE Solar Corps Grant Terms.
Proposal submitted on time
Section 2: BONUS CATEGORIES (up to 21 points)
Firm is located in state
Prioritize diversity and inclusiveness in business practices
Firm has a NAPCEP certified installer on staff
Are, or contract with, a worker-owned cooperative, union shop, certified B-corporation, or small-, women-, minority-, or veteran- owned business enterprise(s) (SWMVBEs).
Firm has completed previous solar installations on school campuses
Firm has a record of prior engagement with Wisconsin Technical Colleges, e.g. as an employer of alumni, or as a member of an industry advisory board
Firm has prior experience designing and installing systems using bifacial solar panels
Firm Can Offer an O&M Program
SECTION 3: RFP CATEGORIES
II. FIRM PROFILE (Up to 10 points) | [5 empty] | 10
A. Firm’s experience developing, designing, and installing commercial PV systems
B. Capability to complete the project per the timeline
III. PROJECT TEAM (Up to 10 points) | [5 empty] | 10
A. Key Personnel: Owners, Project Managers, Designers, Installers, and Office Manager
B. Subcontractor quality, experience, credentials
IV. BUSINESS PRACTICES (Up to 25 points) | [5 empty] | 25
A. Sample site assessment and cost estimate
B. Sample customer contract
C. Firm’s address of change orders
D. Firm’s health and safety record and practices
E. Firm’s familiarity with permitting fees and requirements in relevant local jurisdictions
V. WORK QUALITY (up to 15 points) | [5 empty] | 15
A. Firm References
B. Firm’s installation process
C. Firm’s final testing and sign-off procedures
VI. CUSTOMER SERVICE (Up to 15 points) | [5 empty] | 15
A. Firm’s plan to handle incident reports
B. Firm complaints
C. Firm’s training to home or businessowner
VII. PRODUCTS, DESIGN, PRICE AND OPTIONS PROVIDED (up to 30 points total for parts A, B, and C) | [5 empty] | 16
A. Products included in proposal
B. Project Design - Consider panel, inverter and racking options, proposed site layout, balance of system, module level power electronics, bifacial optimization, monitoring choice, and considerations for student instruction
Site 1 Panels
Site 1 Inverter(s)
Site 1 Racking
Site 1 layout
Site 1 DC to AC ratio
Site 1 Estimated Annual kWh
Data Acquisition System (DAS)
Warranty
Other comments?
If appropriate, repeat the lines above for additional installation sites
C. Pricing
Site 1 Base Price ($)
Site 1 Base Price ($/kW installed)
Site 1 Base Price Rank (lowest = 1)
If appropriate, repeat the lines above for additional installation sites
Total Score = | 0 | 0 | 0 | 0 | 0 | 91

## reviewer3
PV Contractor Score Sheet | Contractor 1 | Contractor 2 | Contractor 3 | Contractor 4 | Contractor 5 | Add collumnus as needed
Section 1: REQUIREMENTS
Installation firm or subcontractor has at least one employee who is a NABCEP Certified PV Installer
Master electrician on staff
Installation firm is an electrical contractor that has all applicable licenses (state and possibly local)
Installation firm responded to each section of the Request for Proposals
Proposing firms must have at least 500kW installed capacity of commercial solar experience.
Installation firm or subcontractor participates in an apprenticeship program or has an equivalent internal training program
Firm indicates their agreement to engaging college interns and students in the project according to the DOE Solar Corps Grant Terms.
Proposal submitted on time
Section 2: BONUS CATEGORIES (up to 21 points)
Firm is located in state
Prioritize diversity and inclusiveness in business practices
Firm has a NAPCEP certified installer on staff
Are, or contract with, a worker-owned cooperative, union shop, certified B-corporation, or small-, women-, minority-, or veteran- owned business enterprise(s) (SWMVBEs).
Firm has completed previous solar installations on school campuses
Firm has a record of prior engagement with Wisconsin Technical Colleges, e.g. as an employer of alumni, or as a member of an industry advisory board
Firm has prior experience designing and installing systems using bifacial solar panels
Firm Can Offer an O&M Program
SECTION 3: RFP CATEGORIES
II. FIRM PROFILE (Up to 10 points) | [5 empty] | 10
A. Firm’s experience developing, designing, and installing commercial PV systems
B. Capability to complete the project per the timeline
III. PROJECT TEAM (Up to 10 points) | [5 empty] | 10
A. Key Personnel: Owners, Project Managers, Designers, Installers, and Office Manager
B. Subcontractor quality, experience, credentials
IV. BUSINESS PRACTICES (Up to 25 points) | [5 empty] | 25
A. Sample site assessment and cost estimate
B. Sample customer contract
C. Firm’s address of change orders
D. Firm’s health and safety record and practices
E. Firm’s familiarity with permitting fees and requirements in relevant local jurisdictions
V. WORK QUALITY (up to 15 points) | [5 empty] | 15
A. Firm References
B. Firm’s installation process
C. Firm’s final testing and sign-off procedures
VI. CUSTOMER SERVICE (Up to 15 points) | [5 empty] | 15
A. Firm’s plan to handle incident reports
B. Firm complaints
C. Firm’s training to home or businessowner
VII. PRODUCTS, DESIGN, PRICE AND OPTIONS PROVIDED (up to 30 points total for parts A, B, and C) | [5 empty] | 16
A. Products included in proposal
B. Project Design - Consider panel, inverter and racking options, proposed site layout, balance of system, module level power electronics, bifacial optimization, monitoring choice, and considerations for student instruction
Site 1 Panels
Site 1 Inverter(s)
Site 1 Racking
Site 1 layout
Site 1 DC to AC ratio
Site 1 Estimated Annual kWh
Data Acquisition System (DAS)
Warranty
Other comments?
If appropriate, repeat the lines above for additional installation sites
C. Pricing
Site 1 Base Price ($)
Site 1 Base Price ($/kW installed)
Site 1 Base Price Rank (lowest = 1)
If appropriate, repeat the lines above for additional installation sites
Total Score = | 0 | 0 | 0 | 0 | 0 | 91

## reviewer4
PV Contractor Score Sheet | Contractor 1 | Contractor 2 | Contractor 3 | Contractor 4 | Contractor 5 | Add collumnus as needed
Section 1: REQUIREMENTS
Installation firm or subcontractor has at least one employee who is a NABCEP Certified PV Installer
Master electrician on staff
Installation firm is an electrical contractor that has all applicable licenses (state and possibly local)
Installation firm responded to each section of the Request for Proposals
Proposing firms must have at least 500kW installed capacity of commercial solar experience.
Installation firm or subcontractor participates in an apprenticeship program or has an equivalent internal training program
Firm indicates their agreement to engaging college interns and students in the project according to the DOE Solar Corps Grant Terms.
Proposal submitted on time
Section 2: BONUS CATEGORIES (up to 21 points)
Firm is located in state
Prioritize diversity and inclusiveness in business practices
Firm has a NAPCEP certified installer on staff
Are, or contract with, a worker-owned cooperative, union shop, certified B-corporation, or small-, women-, minority-, or veteran- owned business enterprise(s) (SWMVBEs).
Firm has completed previous solar installations on school campuses
Firm has a record of prior engagement with Wisconsin Technical Colleges, e.g. as an employer of alumni, or as a member of an industry advisory board
Firm has prior experience designing and installing systems using bifacial solar panels
Firm Can Offer an O&M Program
SECTION 3: RFP CATEGORIES
II. FIRM PROFILE (Up to 10 points) | [5 empty] | 10
A. Firm’s experience developing, designing, and installing commercial PV systems
B. Capability to complete the project per the timeline
III. PROJECT TEAM (Up to 10 points) | [5 empty] | 10
A. Key Personnel: Owners, Project Managers, Designers, Installers, and Office Manager
B. Subcontractor quality, experience, credentials
IV. BUSINESS PRACTICES (Up to 25 points) | [5 empty] | 25
A. Sample site assessment and cost estimate
B. Sample customer contract
C. Firm’s address of change orders
D. Firm’s health and safety record and practices
E. Firm’s familiarity with permitting fees and requirements in relevant local jurisdictions
V. WORK QUALITY (up to 15 points) | [5 empty] | 15
A. Firm References
B. Firm’s installation process
C. Firm’s final testing and sign-off procedures
VI. CUSTOMER SERVICE (Up to 15 points) | [5 empty] | 15
A. Firm’s plan to handle incident reports
B. Firm complaints
C. Firm’s training to home or businessowner
VII. PRODUCTS, DESIGN, PRICE AND OPTIONS PROVIDED (up to 30 points total for parts A, B, and C) | [5 empty] | 16
A. Products included in proposal
B. Project Design - Consider panel, inverter and racking options, proposed site layout, balance of system, module level power electronics, bifacial optimization, monitoring choice, and considerations for student instruction
Site 1 Panels
Site 1 Inverter(s)
Site 1 Racking
Site 1 layout
Site 1 DC to AC ratio
Site 1 Estimated Annual kWh
Data Acquisition System (DAS)
Warranty
Other comments?
If appropriate, repeat the lines above for additional installation sites
C. Pricing
Site 1 Base Price ($)
Site 1 Base Price ($/kW installed)
Site 1 Base Price Rank (lowest = 1)
If appropriate, repeat the lines above for additional installation sites
Total Score = | 0 | 0 | 0 | 0 | 0 | 91

## reviewer5
PV Contractor Score Sheet | Contractor 1 | Contractor 2 | Contractor 3 | Contractor 4 | Contractor 5 | Add collumnus as needed
Section 1: REQUIREMENTS
Installation firm or subcontractor has at least one employee who is a NABCEP Certified PV Installer
Master electrician on staff
Installation firm is an electrical contractor that has all applicable licenses (state and possibly local)
Installation firm responded to each section of the Request for Proposals
Proposing firms must have at least 500kW installed capacity of commercial solar experience.
Installation firm or subcontractor participates in an apprenticeship program or has an equivalent internal training program
Firm indicates their agreement to engaging college interns and students in the project according to the DOE Solar Corps Grant Terms.
Proposal submitted on time
Section 2: BONUS CATEGORIES (up to 21 points)
Firm is located in state
Prioritize diversity and inclusiveness in business practices
Firm has a NAPCEP certified installer on staff
Are, or contract with, a worker-owned cooperative, union shop, certified B-corporation, or small-, women-, minority-, or veteran- owned business enterprise(s) (SWMVBEs).
Firm has completed previous solar installations on school campuses
Firm has a record of prior engagement with Wisconsin Technical Colleges, e.g. as an employer of alumni, or as a member of an industry advisory board
Firm has prior experience designing and installing systems using bifacial solar panels
Firm Can Offer an O&M Program
SECTION 3: RFP CATEGORIES
II. FIRM PROFILE (Up to 10 points) | [5 empty] | 10
A. Firm’s experience developing, designing, and installing commercial PV systems
B. Capability to complete the project per the timeline
III. PROJECT TEAM (Up to 10 points) | [5 empty] | 10
A. Key Personnel: Owners, Project Managers, Designers, Installers, and Office Manager
B. Subcontractor quality, experience, credentials
IV. BUSINESS PRACTICES (Up to 25 points) | [5 empty] | 25
A. Sample site assessment and cost estimate
B. Sample customer contract
C. Firm’s address of change orders
D. Firm’s health and safety record and practices
E. Firm’s familiarity with permitting fees and requirements in relevant local jurisdictions
V. WORK QUALITY (up to 15 points) | [5 empty] | 15
A. Firm References
B. Firm’s installation process
C. Firm’s final testing and sign-off procedures
VI. CUSTOMER SERVICE (Up to 15 points) | [5 empty] | 15
A. Firm’s plan to handle incident reports
B. Firm complaints
C. Firm’s training to home or businessowner
VII. PRODUCTS, DESIGN, PRICE AND OPTIONS PROVIDED (up to 30 points total for parts A, B, and C) | [5 empty] | 16
A. Products included in proposal
B. Project Design - Consider panel, inverter and racking options, proposed site layout, balance of system, module level power electronics, bifacial optimization, monitoring choice, and considerations for student instruction
Site 1 Panels
Site 1 Inverter(s)
Site 1 Racking
Site 1 layout
Site 1 DC to AC ratio
Site 1 Estimated Annual kWh
Data Acquisition System (DAS)
Warranty
Other comments?
If appropriate, repeat the lines above for additional installation sites
C. Pricing
Site 1 Base Price ($)
Site 1 Base Price ($/kW installed)
Site 1 Base Price Rank (lowest = 1)
If appropriate, repeat the lines above for additional installation sites
Total Score = | 0 | 0 | 0 | 0 | 0 | 91

## TOTALS
Contractor | Contractor 1 | Contractor 2 | Contractor 3 | Contractor 4 | Contractor 5 | Add collumnus as needed
Reviewer 1 Score
Reviewer 2 Score
Reviewer 3 Score
Reviewer 4 Score
Reviewer 5 Score
Total Score